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	Document Title
	Document #
	

	
	Version #
	



Month:       Year:        
Reviewed by: __________________ Date: _________

	Equipment Type: Freezer
	Model:     
	Serial # of Freezer:     

	Acceptable Temperature Range:     
	Location of Independent Thermometer:     
	Serial# of Independent Thermometer:     


DAILY: (√)

	Day
	Time
	Tech
	Digital Controller*
(Internal Thermometer)
	Independent

Thermometer*
	Chart
	Temps Within 5oC (√)

If “No” see Note**
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	Temp
	Temp
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	No
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WEEKLY




              


MONTHLY


	Week
	Audible Alarm Check (√) ^
	Charts Changed (√)
	Temp. Record Review
	Battery Backup Check (√) ǂ

	
	Date
	Tech
	Pass
	Fail
	Date
	Tech
	Date
	Tech
	Date
	Tech
	Pass
	Fail
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*Note: Independent thermometer must be in different location than digital controller








**Note: If temperature of digital controller/ independent thermometer/ chart not within 5(C refer to QC Procedure-Temperature Monitoring Blood, Blood Component and Derivative Storage Equipment








^Note: If audible alarm fails, refer to QC Procedure – Alarm Systems Check





ǂNote: If battery backup check fails, refer to QC Procedure – Alarm System Check
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